## Instructions
This Self-Assessment Form was developed by the Rhode Island Department Climate Change Program as a component of the Senior Resiliency Project. The Senior Resiliency Project provides emergency preparedness resources to long term care, assisted living and independent senior housing facilities to improve their response to climate related disasters.
This Tool should be completed by facility staff. It assesses a facility’s ability to respond to a disaster that might impact utilities and require a facility to shelter-in-place.
For instruction on how to use Self-Assessment form and for other tools available through the Senior Resiliency Project, see http://health.ri.gov/programs/detail.php?pgm_id=1105

## Assessment Questions
Facility:
Address:
? # | Question
Population and Staffing
A | How many Assisted Living patients/residents do you have?
B | How many Nursing Home patients/residents do you have?
| Total residents/patients: | 0
C | Daytime Staffing: How many…
Administration (management, receptionists, other admin support)
Nurses and nurses' aides
Therapy staff (OT/PT, SpT, RT, aides, transporters)
On-site LIPs (Monday - Friday)
Dietary staff (cooks, servers, dishwashers, etc)
Housekeeping staff
Facilities and maintenance staff
Other staff
| Total daytime staff: | 0
D | Evening staff:
Administration (management, receptionists, other admin support)
Nurses and nurses' aides
Therapy staff (OT/PT, SpT, RT, aides, transporters)
On-site LIPs (Monday - Friday)
Dietary staff (cooks, servers, dishwashers, etc)
Housekeeping staff
Facilities and maintenance staff
Other staff
| Total evening staff: | 0
E | Overnight staff
Administration (management, receptionists, other admin support)
Nurses and nurses' aides
Therapy staff (OT/PT, SpT, RT, aides, transporters)
On-site LIPs (Monday - Friday)
Dietary staff (cooks, servers, dishwashers, etc)
Housekeeping staff
Facilities and maintenance staff
Other staff
| Total overnight staff: | 0
Directions: Please answer by checking the correct box in the right-hand column. ®
Location and Elevation
1 | Lowest Elevation Above Sea Level or River Flow:
< 10 feet
10 - 20 feet
20-30 feet
30-50 feet
> 50 feet
2 | Shortest Distance From Open Water or River:
< 0.5 miles
0.5 - 1 mile
1 - 3 miles
3-5 miles
> 5 miles
3 | Facility will become isolated from outside resources at a flood depth of:
< 10 feet
10 - 20 feet
20 - 30 feet
> 30 feet
4 | For the highest anticipated flood plain by state or federal agency:
Flood plain known, and generator system and some/none of the associated equipment are above it
Flood plain known, and generator system and all associated equipment are above it
Flood plain is not known
5 | The area surrounding the facility:
Has a history of flooding during severe rain events
Does not have a history of flooding during severe rain events
Structural Concerns
6 | The majority of the facility's windows are:
Single-pane windows
Double-paned windows, rating unknown
Double-paned, rating > 100 mph
Double-paned, rating > 130 mph
7 | Windows on the lower levels of the facility:
Are not protected by safety glass or grating
Are not protected, but plating is available
Are protected by safety glass or grating
8 | Objects/Furniture surrounding the facility:
Can become wind-blown projectiles
Will be cleared by facility prior to the storm
Are firmly secured and do not present a risk
9 | Flat parking areas at the facility:
Are adjacent to the facility and not surrounded by barriers or fencing
Are adjacent to the facility but are protected by barriers or fencing
The facility does not have a parking lot or parking is remote from the facility
10 | With regard to possible water intrusion, the facility's exterior doors:
Will not be protected from water intrusion
Will be protected by portable plates or sandbags, or other manual devices
Provide protection from water intrusion to a depth of 0-1 foot
Provide protection from water intrusion to a depth of 1-2 feet
Provide protection from water intrusion to a depth of 2-3 feet
Provide protection from water intrusion to a depth of > 3 feet
11 | Physical (fixed) barriers, such as bollards:
Do not protect the exterior doors of the facility
Provide ample protection of the exterior doors of the facility
12 | To protect the facility from water intrusion, the interior doors:
Provide no protection from water intrusion or spread
Will be protected by plates or other barriers to prevent the intrusion or spread of water
Doors which access utility rooms and hallways provide a waterproof barrier
13 | The majority of interior walls in utility rooms:
Are constructed of studs and sheetrock
Are constructed of concrete or concrete block
14 | The facility's floor drains in below or at grade floors:
Have a history of backing up at least every 3 years
Do not have a history of backing up
15 | Floor drains located at grade or below grade floors:
Do not have a routine maintenance schedule to ensure cleanliness and proper function
Have a routine maintenance schedule to ensure cleanliness and proper function
16 | If the facility's floor drains back up and water begins to enter the facility:
The facility does not have a method for plugging floor drains
A method for plugging floor drains is readily available
Floor drains have built-in float-plates to automatically occlude the drains
17 | With regard to care/maintenance of roofs:
At least some sections of the roof(s) have a current history of leaking
At least some sections of the roof(s) have areas in need of repair
Roofs do not leak and are not in need of repair
18 | Rooftops at the facility with stone aggregate or ballast have: (RI SBC 1504.8 - - no Ballast or Aggregate)
Stone aggregate of less than 1" diameter
Stone aggregate of greater than 1" diameter
Concrete tiles are used as ballast
No stone aggregate or concrete ballast is used on any rooftops
19 | With regard to roofing materials and construction:
EDPM is loosely adhered and uses stones or concrete tile for ballast
EDPM is mechanically adhered
Roof is covered with asphalt or modified bitumen
Roof is covered by thermoplastic build-up without stone or concrete tile ballast
Roof is covered with concrete tile above a thermoplastic build-up
Roof is covered by fully-adhered EDPM
20 | Drains located on rooftops:
Are at least patially obstructed by debris or plant growth
Are not protected from occlusion by grates
Are protected and regularly checked and cleared of occlusion
There are no drains on the roof
21 | The facility's parapet walls:
Do not have cut-throughs to allow drainage of excess water (Parapets do not completely surround the roof)
Have sufficient cut-throughs to allow drainage of excess water
Does not have parapet walls
Utilities and Resources
22 | A water use assessment for the facility:
Has not been completed
Has been completed
23 | Water use for all departments within the facility:
Has not been individually determined and prioritized
Has been individually determined and prioritized
24 | Water loss from the facility's heating system:
Has not been determined
Is known, but bot incorporated into the plans
Is known, documented, and incorporated into the plans
Water is not used, or is not lost by the facility's heating system
25 | Toilets and urinals in the facility:
Utilize Sloan-type valves requiring adequate psi and gpm for proper functioning
The facility's toilets have water tanks. Urinals use a Sloan-type valve.
The facility's toilets have water tanks and there are no urinals with valves
26 | With regard to water supply, the facility has:
A single water main
More than one water supply, but originating from the same municipal main
A single water well that supplies all the water to the facility
A dedicated water main from the municipal water authority
More than one supply line, originating from different municipal mains
More than one water well
Municipal water service has at least one water well that can be used in emergencies
A filtration system which can be utilized for the treatment of ground or surface water
27 | If the facility has one or more wells:
The pump(s) for the facility's well(s) are provided generator power
The facility does not have wells that require pumps
The facility does not have any water wells
28 | With regard to rooftop/penthouse water reservoirs:
The facility does not have water reservoirs on the rooftops or penthouse floors
Pumps for delivering water to the rooftop reservoirs are not provided emergency power
The facility has water reservoirs on the rooftops or penthouse floors
Pumps for delivering water to the rooftop reservoirs are provided emergency power
29 | On-grade or below-grade water reservoirs at the facility:
The facility does not have water reservoirs on-grade or below grade
Use pumps that are not provided emergency power
Utilize pumps that are provided emergency power
30 | With regard to crossing water supplies from multiple reservoirs at the facility:
Reservoir tanks cannot be crossed to other buildings to supplement supplies
Water resources from reservoir tanks can be crossed to other buildings to supplement supplies
Question is not applicable
31 | The volume of potable water stored in cases, cooler bottles and other containers:
Is not readily known
Is readily known
32 | The amount of water needed to support operation of the facility: (See Water Assessment sheet)
For each 24 hours is not known
For each 24 hours is known
33 | Methods that could be utilized to conserve water:
Have not been developed
Have been developed and will be followed during a potential water emergency
34 | Water use calculations at the facility:
Do not account for losses to steam production
Account for losses to steam production
The facility does not use steam heat
35 | Water use calculations at the facility:
Do not account for water needed for sanitation
Account for water needed for sanitation
36 | The facility has sufficient water storage to meet all facility needs for:
24 hours or less
For 24 - 48 hours
For 48 - 96 hours
For at least 96 hours
37 | To support emergency power generation, the facility:
Does not have either a generator or a Combined Heat/Power Unit (CHP) (Co-generator)
Has a single generator or CHP
Has more than one generator, but the units are not interconnected
Has multiple, interconnected generators to provide redundant power sources
38 | Generator and co-generator resources:
Are not divided into branches for powering emergency life support and equipment services.
Are divided into branches for powering emergency life support and equipment services.
39 | Generator and co-generator resources:
Are not sufficient to operate 100% of the facility's emergency needs
Are sufficient to operate 100% of the facility's emergency needs
40 | Generator and co-generator resources:
Are not regulary started and maintained to ensure proper operation during emergencies
Are regulary started and maintained to ensure proper operation during emergencies
41 | The location/positioning of generators and co-generators:
Do not protect them from direct or indirect risks of damage
Are sufficiently protected from direct or indirect risks of damage
42 | To support the generator(s)
There are only 2 or fewer staff members on-duty capable to starting and operating the generator for an extended period
There are always 3 or more staff members capable of starting and operating the generator for an extended period
43 | To support the generator(s)
The updated contact information for emergency generator service is not posted and accessible
The updated contact information for emergency generator service is posted and accessible
44 | The municipal power grid:
Is mostly above ground (power poles in the community)
Is mostly below ground (no power poles in the community)
45 | Power supply in the area:
Has a history of frequent failure
Does not have a history of frequent failure
46 | The primary power station supplying power to the facility:
Is situated in an area making it at risk for failure during a disaster
Is not located in an area that is at risk during anticipated disasters
47 | To facilitate temporary generator connection to the facility:
The facility does not have pre-connected pigtails or docking stations for connecting to a portable generator
The facility has pre-connected pigtails or docking stations for connecting to a portable generator
48 | To support care during power-related emergencies:
Not all patient rooms have a duplex connected to emergency power
Every patient room has at least one duplex connected to emergency power
Every patient room has at least two duplexes connected to emergency power
49 | Generators use the following type(s) of fuel:
Tanked diesel fuel (Tank size:_____ gals Rate of consumption under full load: _____gals / hour)
Piped natural gas
Tanked LP Gas (Tank size:_____ gals Rate of consumption under full load: _____gals / hour)
Dual- or Bi-fuel ( Diesel + NG or Diesel + LP) (complete tank and consumption rates above)
50 | The generators, co-generators and boilers are supplied fuel from:
A municipal supply line for fuel
A single shared fuel tank
Multiple shared fuel tanks
51 | Diesel fuel freshness:
The diesel fuel for the emergency generator is not maintained and usable year round
The diesel fuel for the emergency generator is maintained and usable year round
The utilities do not use diesel fuel
52 | Generators and/or co-generators:
Are single fuel only
Are dual fuel
53 | The rate of fuel consumption for the generators
For each unit has not been calculated
Has been calculated
54 | Day tanks for the generators:
Generators or co-generators do not have "day tanks"
Will operate the unit for less than 3 hours at full capacity
Will operate the unit for at least 3 hours at full capacity
55 | The generator and co-generator fuel pumps:
Are connected such that each generator does not power its own fuel pump
Are configured so that each generator or co-generator powers its own fuel pump (or not applicable)
56 | Current fuel supplies for generators and co-generators will operate the unit(s):
For a period of up to 24 hours at 100% generation capacity, or are powered by municipal natural gas
For a period of up to 48 hours at 100% generation power
For a period of up to 72 hours at 100% generation power
For a period of 96 hours or longer at 100% generation power
57 | The fuel service provider:
The updated contact information for the fuel service provided is not posted and accessible
The updated contact information for the fuel service provided is posted and accessible
58 | Fuel supply fill and ventilation piping for generators:
Are not protected from risks associated with natural disasters
Are protected from risks associated with natural disasters
59 | Tank filling during operations:
The generator's main tank and day tank cannot be filled while the generator is running
The generator's main tank and day tank can be filled while the generator is running
60 | Extra fuel filters
Extra fuel filters for the generator are not readily accessible
Extra fuel filters for the generator are readily accessible
61 | Heating for the facility is supplied via:
A single boiler / heating unit
Multiple boilers or heting units but they cannot cross-over if other units are non-functional
Multiple boilers or heating units that can cross-over if other units are non-functional
62 | For co-generation:
The facility has no co-generation plant
The facility has a co-generation plant which can provide back-up heat and power
63 | Heating units serving the facility:
Electric
Tanked diesel fuel (Tank size:_____ gals Rate of consumption under full load: _____gals / hour)
Piped natural gas (municipal supply line)
Tanked LP Gas (Tank size:_____ gals Rate of consumption under full load: _____gals / hour)
Dual- or Bi-fuel ( Diesel + NG or Diesel + LP) (complete tank and consumption rates above)
64 | The rate of fuel consumption for each heating unit:
Has not been calculated
Has been calculated
65 | Heating unit fuel pumps:
Are not provided with emergency power, or use natural gas
Are provided with emergency power, or use natural gas
66 | Current fuel supplies for all heating units will operate for a period of:
Up to 24 hours at 100% capacity, or are natural gas
Up to 48 hours at 100% capacity
Up to 72 hours at 100% capacity
96 hours or longer at 100% capacity
67 | Fuel supplies are shared among the following utilities: (indicate all that apply)
Fuel supplies are not shared among utilities
Heating
Hot water
Cooking
Generator(s)
68 | To supply additional heating capability the facility:
Does not have a method to connect a portable heater unit
Has a method to connect a portable heater unit
69 | Ventilation systems at the facility:
Are not supported by emergency power
Support only some critical areas when on emergency power
Support critical and patient care areas when on emergency power
Support all areas of the facility when on emergency power
70 | With regard to the facility's air conditioning system:
None of the air conditioning system functions on emergency power
Only the critical areas of the facility are provided air conditioning when on emergency power
Critical care and patient care areas are provided air conditioning when on emergency power
All areas of the facility can be provided air conditioning when on emergency phone
71 | The liquid gas storage area for medical gases:
Is outside and at or below-grade without any protection (e.g., bollards, fencing)
Is outside and at or below-grade with adequate protection
The facility has no liquid medical gas storage
Is stored inside and is protected
72 | For alternate sources of medical gases:
Are not currently covered in any existing agreements and are not in plans
Are covered under current agreements and incorporated into planning
73 | The amount of medical gas that is stored at the facility:
Are not sufficient to support the facility's operation for 96 hours without delivery
Are sufficient to support the facility's operation for 96 hours without delivery
Food and Nutrition
74 | Food and beverage supplies are sufficient to support all occupants with:
3 meals per day for 24 hours
3 meals per day for 48 hours
3 meals per day for 72 hours
3 meals per day for 96 hours or longer
75 | The volume of potable water stored in cases, cooler bottles and other containers:
Is not readily known
Is readily known
76 | The facility's kitchen:
Is located at or below grade and not protected from flooding, no alternative kitchen space is available
Is located at or below grade, an alternate space is available (select if the facility has no kitchen)
Is above grade and not vulnerable to flooding
There is no centralized kitchen at this facility
77 | Plans to conserve food supplies during an emergency:
Have not been developed
Have been developed
We have no patients/residents that require enteral feedings
78 | For patients/residents utilizing enteral feedings:
Have not been developed
Have been developed
There are no patients/residents utilizing enteral feedings
79 | With regard to planning for pre-cooked meal sources:
No plans exist for other sources for meals that are ready to eat (pre-cooked or does not require cooking)
If needed, sufficient volumes of ready to eat meals can be obtained from an outside source
80 | All refrigerators and/or freezers:
Are not provided emergency power
Are provided emergency power
81 | Stoves and ovens:
Require electricity to properly function
Can properly function without electric power
82 | Alternative cooking methods (such as steam kettles)
Cannot be utilized to prepare or heat foods
Can be utilized to prepare or heat foods
83 | The facility's re-therm system:
Is not provided generator power
Is provided generator power
The facility does not have a re-therm system
84 | The facility's disposable eating ware:
Is not sufficient to support operations for a 96 hour period
Is sufficient to support operations for a 96 hour period
Clinical Staffing and Emergency Notification
85 | With regard to Full Time Employee (FTE) Staffing:
The facility has 25% or more FTE positions that remain unfilled
The facility has between 10% and 25% FTE positions that remain unfilled
The facility has less than 10% FTE positions that remain unfilled
86 | If mass transit is unavailable, staff having difficulty getting to work would be:
At least 25% of staff
Between 10% and 25% of staff
Less than 10% of staff
87 | Information and encouragement pertaining to 'family preparedness plans':
Is not regularly provided to all staff on an annual basis
Is provided at least annually to all staff within the facility
88 | Contact information for staff and their next of kin:
Is not accurately listed for all staff
Is updated annually but not tested
Is updated and tested annually
89 | An automatic calling system:
Is not utilized to notify staff or other entities of emergencies at the facility
Is utilized to notify staff or other entities of emergencies at the facility
90 | A dedicated phone line or web page to verify the status of the facility:
Is not utilized and maintained regularly
Is utilized and maintained regularly
91 | A dedicated security force having sufficient numbers to protect critical entries:
Is not maintained at the facility
Is maintained at at all times at the facility
92 | To augment security with additional uniformed forces during emergencies:
The facility does not have an MOU/MOA with any agencies or organizations
An MOU/MOA with outside agencies/organizations exist but the agreement has never been tested
An MOU/MOA with outside agencies/organizations exists and the tested were acceptable
93 | Magnetic or electronic locks at the facility:
Are not provided emergency emergency power from generators; or, batteries would last less than 96 hours
Are provided emergency emergency power from generators; or, batteries would last at least 96 hours (or n/a)
94 | The facility's "wander alarm" system:
Is not provided emergency power from generators; batteries would last less than 96 hours (or n/a)
Is provided emergency power from generators; or, batteries would last at least 96 hours
An "wander alarm" system is not applicable at this facility
95 | With regard to staff requirements and ID badges:
Staff do not routinely wear ID badges at the facility; use of ID badges is not enforced
Staff are required to wear ID badges at the facility; policies are strictly enforced
96 | Card readers/door locks
Are not connected to generator power, and cannot be over-ridden during power outages
Can be over-ridden during power outages
Are connected to the emergency generator
97 | In addition to patients/residents, the maintained stock of food, water, linens and other supplies at the facility:
Is not sufficient to support staff during a 96-hour event
Is sufficient to support staff during a 96-hour event
98 | In addition to patients/residents, the maintained stock of food, water, linens and other supplies at the facility:
Is sufficient to support staff but no increase due to staff families during a 96-hour event
Is sufficient to support staff and less than 10% of staff families during a 96-hour event
Is sufficient to support staff and less than 25% of staff families during a 96-hour event
Is sufficient to support staff and more than 25% of staff families during a 96-hour event
99 | For daycare level support, the facility's capacity, capability or plans:
Do not allow their staff to bring their children to work during a disaster
Allow 10% of staff to bring their children to work during a disaster
Allow 10% to 25% of staff to bring their children to work during a disaster
Allow more than 25% of staff to bring their children to work during a disaster
100 | For daycare level support, the facility's capacity, capability or plans:
Do not allow their staff to bring elderly parents or disabled relatives to work during a disaster
Allow 10% of staff to bring their elderly parents or disabled relatives to work during a disaster
Allow 10% to 25% of staff to bring their elderly parents or disabled relatives to work during a disaster
Allow more than 25% of staff to bring their elderly parents or disabled relatives to work during a disaster
101 | For overnight sheltering of staff during a disaster:
Sufficient, non-clinical space has not been determined
Sufficient, non-clinical space has been determined
Alternate Care Concerns
102 | Alternate spaces where patients/residents could be provided acceptable care during a disaster:
Have not been determined
Have been determined but not fully evaluated for health and safety concerns
Have been determined and evaluated for maximum patient type/load and life safety concerns
103 | During a state of emergency with 1135 waivers in place, the facility has a 96 hour supply to accommodate:
a | Alternate space for less than 50% of the facility's patient population
Alternate space for 50% to 75% of the facility's pateint population
Alternate space for 75% to 100% of the facility's pateint population
b | Additional beds for less than 5% of the facility's population (to be able to surge)
Additional beds for 5 to 10% of the facility's patient population
Additional beds for 10% to 15% of the facility's patient population
c | Current linen supply would last 48 hours or less
Current linen supply would last 48 to 72 hours
Current linen supply would last 72 to 96 hours or longer
As an independent living facility, residents manage their own linens and laundry
d | Current medical supplies would last 48 hours or less
Current medical supplies would last 48 to 72 hours
Current medical supplies would last 72 to 96 hours or longer
As an independent living facility, residents manage their own medical supplies
e | Potable water for less than 50% of the facility's patient population
Potable water for 50% to 75% of the facility's patient population
Potable water for 75% to 100% of the facility's patient population
f | Food for less than 50% of the facility's patient population
Food for 50% to 75% of the facility's patient population
Food for 75% to 100% of the facility's patient population
104 | For horizontal evacuation for up to 12 hours, each patient/resident care area:
Has an acceptable location to evacuate to on the same floor except for intesive care areas
Has an acceptable location to evacuate to on the same floor, including intesive care areas
105 | For vertical evaluation for up to 12 hours, each patient/resident care area:
Does not have an acceptable location on a different floor to evacuate to
Has an acceptable location to evacuate to on a different floor except for intensive care areas
Has an acceptable location to evacuate to on a different floor, including intensive care areas
N/A...The facility only has a single, ground-level floor that houses patients/residents
106 | Should the elevators be rendered inoperable, the facility:
Does not own any patient carrying devices to aid in vertical evacuation of patients
Owns patient carrying devices to aid in the vertical evacuation of less than 10% of one ward or unit
Owns patient carrying devices to aid in the vertical evacuation for 10%to 25% of one ward or unit
N/A...The facility only has a single, ground-level floor that houses patients/residents
107 | Training and testing for use of patient carrying devices has been conducted:
For less than 10% of staff
For between 10% and 25% of staff
For more than 25% of staff
108 | A tool to identify the Transportation Assistance Level for each patient:
Is not utilized by the facility
Is utilized by the facility, but no information has been entered for each patient/resident
Is utilized by the facility and the form for each patient/resident has been populated with their stagnant information such as: name, date of birth, medication allergies, emergency contacts, etc.
109 | During isolated disasters (such as a fire at the facility) agreements with nearby facilities:
Are not maintained for the receiving of the patients/residents
Are maintained for the receiving of general care patients/residents, but not special care patients
Are maintained for the receiving of general care and special care patients/residents
110 | Regional plans for simultaneous health care facility evacuations during large disasters:
Have not been developed or distributed
Have been developed, but the facility was not involved in the development or testing of the plans
Have been developed, and the facility was involved in the development or testing of the plans
111 | Plans for the complete evacuation of all patients/residents within the facility:
Have not been finalized
Have been finalized
Have been finalized and a functional exercise to test the plan was conducted within the past 36 months
112 | Plans involving the complete evacuation of all patients/residents within the facility:
a | Do not contain a prioritization of patient/resident evacuations based on threats to life safety and TALs
Contain a prioritization of patient/resident evacuations based on threats to life safety and TALs
b | Do not contain methods for transferring pertinent patient/resident care information with each patient
Contain methods for transferring pertinent patient/resident care information with each patient
c | Do not contain methods for transferring needed patient/resident care equipment with each patient
Contain methods for transferring needed patient/resident care equipment with each patient
d | Do not contain methods for transferring special medications with each patient/resident
Contain methods for transferring special medications with each patient/resident
e | Do not contain methods for transferring staff with each patient/resident, as needed
Contain methods for transferring staff with each patient/resident, as needed
f | Do not contain locations for the staging of different TAL levels of patients/residents awaiting transportation
Contain locations for the staging of different TAL levels of patients/residents awaiting transportation
g | Do not contain methods of tracking patients/residents, equipment, and staff
Contain methods of tracking patients/residents, equipment, and staff
h | Do not contain methods of communicating with each receiving facility
Contain methods of communicating with each receiving facility
i | Do not contain sufficient numbers of various vehicles for the efficient transfer of patients/residents
Contain sufficient numbers of various vehicles for the efficient transfer of patients/residents
j | Do not contain methods for contacting eqch patient's/resident's next-of-kin
Contain methods for contacting each patient's/resident's next-of-kin

## Water Assessment
| Facility: |  | Facility: | [5 empty] | Date:
| Address: |  | Address:
Floor | # of Patients / Residents | # of Daytime Staff | Number of Evening Staff | Number of overnight Staff | Hydration Needs [(Column D + Column E)*1.0] | Bathing Needs (Column D * 1.0 gals) | Sanitation Needs [(D*8)+(E*5)+(F*4)+(G*3)*1.5 gals] | Number of Breakfasts | Number of Lunches | Number of Dinners | Number of Snacks
Sub-Totals | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ancillary Needs | [8 empty] | Hydration | Bath/Sanit
Laundry | Number of loads per day: | [5 empty] | Patients/Residents + Staff |  | 0 | 0
Amount of water per load:
|  | (about 2.5 gals per lb) |  |  | 0
Housekeeping | Water used for cleaning | [5 empty] | Sub-Totals |  | 0 | 0 | 0
Dietary needs | Water used for food prep:
| Water used for steam tables: | [5 empty] | Water for Ancillary Needs |  | 0
Dishwash pre-cleaning:
Number of loads of dishes:
| Amount of water per load: | [5 empty] | Total amount of water needed daily |  |  | 0 | Gallons
Steam Heating: | Amount of make-up water per day: |  |  |  |  | Note: only enter the greater of these two values. Leave the other blank. You won't lose steam to both heating and AC at the same time.
Steam AC: | Amount of make-up water per day:
Water Tower: | Amount of make-up water per day:
Landscaping | Amount used to water lawn and shrubs
Amount lost in water fountains
Therapy Pool: | Amount of make-up water per day:
Other Water Uses:
|  |  |  | Sub-Total | 0