## TestResults
|  | ► Convert μg/L to mg/L: | 1 | μg/L | = | 0.001 | mg/L◄
Rhode Island Department of Health
Center for Drinking Water Quality
Private Well Water Testing
Understanding Your Lab Report
Testing your well water regularly is one of the best ways to maintain your well water's health. Be sure to use only certified laboratories and keep copies of all your results.
Lab reports are the lists of codes and numbers that show the results of your water testing. This worksheet can help you understand the basic information in your report and decide whether to talk to a well water professional.
For more on how to read the report and other paperwork you may receive from the lab, see our 'Reading Your Report' guide.
► Reading Your Water Analysis Report
Make sure to read all directions carefully. If you have any questions, call your laboratory or the RIDOH Center for Drinking Water Quality at 401-222-6867.
Directions
1 | In each section below, there is a blue box next to each test name. Enter the numbers for that test from the 'Result' column of your lab report without any symbols or units.
NOTE: Be sure to check that the units for each result on your report match the units next to the blue box. This worksheet labels most results in mg/L (milligrams per liter). If a result is in μg/L (micrograms per liter), 1 milligram (mg/L) equals 1,000 micrograms (ug/L) and that makes a big difference! If you need to change the units of your result, we have included a converter at the top that will scroll down the sheet with you.
If you didn't have some tests done, leave those boxes blank.
If your result has a less than symbol ( < ) next to it or the letters "ND" (for "Not Detected"), enter the number zero in the box.
If you look to the right of the box, you will see numbers in gray. These are either maximum contaminant levels (or "MCL," for things that can have health risks) or advisory levels (for things that generally don't).
2 | The box will turn a different color based on your result:
██ | Check/green means that your result meets water quality standards.
██ | Yellow/exclamation point means that your result is over half of the health limit or out of the ideal range, and followup actions may be recommended.
██ | 'X' symbol/red means that your result is above water quality standards, and it may have health effects. Red boxes will only appear for tests that have an official MCL set by the State of Rhode Island or the EPA.
3 | Our Safe Well Water Tip Sheets give more information about different water tests and issues. There are links to related Tip Sheets throughout this tool, and you can also read the full series online.
► Read the Safe Well Water Tip Sheets
If you have questions about your report, call the laboratory and ask to speak to an interpreter.
► | Read before using this tool.
This sheet is for educational purposes only, and there are many other factors about your well and water that aren't covered here. You should talk to a qualified water professional (such as your laboratory's licensed interpreter) before making any decisions or changes to your well or home water system.
Jump to section
► | Annual Tests | ► | 5-10 Year Tests
| Bacteria (coliform, E. coli), nitrates, sodium, chloride, etc. |  | MTBE, VOCs (Volatile Organic Chemicals)
► | 3-5 Year Tests | ► | Other/Non-Routine Tests
| Metals, corrosion tests |  | Arsenic, beryllium, PFAS, etc.
Annual Tests
| Total Coliform Bacteria | . | (Select from dropdown) |  |  |  |  | Absent (Negative) | ✓
| A type of bacteria that usually does not cause serious health problems. However, it can be a warning sign that harmful bacteria can also get in. | [6 empty] | Present (Positive) | ⨉
| ► Read Tip Sheet 3: Bacteria | [6 empty] | (Select from dropdown) | .
| E. coli | . | (Select from dropdown)
(or Fecal Coliform Bacteria)
A type of bacteria that only comes from human or animal waste and can make people sick.
► Read Tip Sheet 3: Bacteria
| Chloride |  |  | mg/L |  | < 250 |  | 0 | ✓
| A mineral that is naturally in well water at low levels. Higher levels can damage plumbing and might be a sign of a septic or sewage problem. | [6 empty] | 250 | !
► Read Tip Sheet 14: Sodium and Chloride
| Color |  |  | CU (Color Units) |  | 15 |  | 0 | ✓
| A measure of how much non-clear tint is in your well water. Color can come from various things in well water (such as iron) and may stain laundry or fixtures. | [6 empty] | 15 | !
| Nitrate |  |  | mg/L |  | 10 |  | 0 | ✓
| A form of nitrogen that is naturally in well water but can be harmful at high levels. If your result shows an 'X' (red box), the water is not safe to drink for infants under one year old or people who are pregnant/nursing and they should switch to bottled water. See the Tip Sheet for more information. | [6 empty] | 5 | !
| ► Read Tip Sheet 11: Nitrate and Nitrite | [6 empty] | 10 | ⨉
| Nitrite |  |  | mg/L |  | 1 |  | 0 | ✓
| A form of nitrogen that is naturally in well water but can be harmful at high levels. | [6 empty] | 0.5 | !
| ► Read Tip Sheet 11: Nitrate and Nitrite | [6 empty] | 1 | ⨉
| Sodium |  |  | mg/L |  | < 250 |  | 0 | ✓
| A mineral that is naturally in well water at low levels. Higher levels can be a concern for people with certain health conditions. | [6 empty] | 250 | !
► Read Tip Sheet 14: Sodium and Chloride
| Turbidity |  |  | NTU |  | 2 |  | 0 | ✓
| A measure of the cloudiness of your well water. Many things make water cloudy (such as minerals or silt), and high levels can affect some treatment systems. | [6 empty] | 1 | !
[8 empty] | 5 | ⨉
▲ Back to top
3-5 Year Tests
| Alkalinity |  |  | mg/L |  | 100 - 200 |  | 0 | !
| A measure of your well water's ability to neutralize acid, which can help prevent corrosion. | [6 empty] | 100 | ✓
[8 empty] | 200 | !
| Cadmium |  |  | mg/L |  | 0.005 |  | 0 | ✓
| A metal that can sometimes be found in natural deposits but may also come from galvanized plumbing. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Calcium |  |  | mg/L |  | 60-120 |  | 0 | !
| A mineral that is naturally in well water, and large amounts can sometimes leave a tough buildup in plumbing and fixtures. | [6 empty] | 60 | ✓
[8 empty] | 120 | !
| Copper |  |  | mg/L |  | 1 |  | 0 | ✓
| A metal used in plumbing that can cause blue-green staining or affect the taste of food. | [6 empty] | 1 | !
► Read Tip Sheet 5: Copper
| Fluoride |  |  | mg/L |  | 0.6 - 4.0 |  | 0 | !
| A metal naturally found in water that helps protect against tooth decay, especially for children under 12 years old. | [6 empty] | 0.6 | ✓
| ► Read Tip Sheet 6: Fluoride | [6 empty] | 4 | !
| Hardness |  |  | mg/L |  | 60 - 120 |  | 0 | !
| The amount of dissolved minerals in your well water. These minerals can help protect against corrosion, but high levels may also cause tough buildup and residue. | [6 empty] | 60 | ✓
[8 empty] | 120 | !
| Iron |  |  | mg/L |  | 0.3 |  | 0 | ✓
| A common red-brown metal in well water that can stain laundry and plumbing and affect the color and taste of food. | [6 empty] | 0.3 | !
► Read Tip Sheet 7: Iron and Manganese
| Lead |  |  | mg/L |  | 0.015 |  | 0 | ✓
| A toxic metal used in plumbing (especially pre-1988) that can cause serious health effects. If your result shows an ‘X’ (red box) or exclamation point (yellow box), switch any children under 6 years old to bottled water and see the Tip Sheet for information and treatment options. | [6 empty] | 0.0075 | !
| ► Read Tip Sheet 8: Lead | [6 empty] | 0.015 | ⨉
| Manganese |  |  | mg/L |  | 0.05 |  | 0 | ✓
| A common black-tinted metal in well water that can stain laundry and plumbing and affect the color and taste of food. | [6 empty] | 0.05 | !
► Read Tip Sheet 7: Iron and Manganese
| pH |  |  | pH |  | 6.5 - 8.5 |  | 0 | !
| A scale of how acidic (lemon juice's pH is 2) or basic (soapy water's pH is 12) the water is. This can affect things like plumbing, fixtures, and treatment systems. | [6 empty] | 6.5 | ✓
| ► Read Tip Sheet 12: pH | [6 empty] | 8.5 | !
| Conductivity |  |  | UMHO/CM |  | < 1500 |  | 0 | ✓
or Specific Conductance
| How well your water conducts electricity. This can come from dissolved salts and minerals and may make your water more corrosive. | [6 empty] | 1500 | !
[8 empty] | 4000 | ⨉
| Sulfate |  |  | mg/L |  | < 250 |  | 0 | ✓
| Part of many natural minerals, but high amounts can cause digestive issues or corrosion in plumbing or fixtures (especially copper). | [6 empty] | 250 | !
► Read Tip Sheet 15: Sulfate and Hydrogen Sulfide
| Total Dissolved Solids |  |  | mg/L |  | 500 |  | 0 | ✓
| The total amount of all non-water things (minerals, salts, etc) in your water. This will often be high in hard water or water with issues such as high iron. | [6 empty] | 500 | !
| Zinc |  |  | mg/L |  | 5 |  | 0 | ✓
| A metal that can sometimes be found in natural deposits but may also come from galvanized plumbing. | [6 empty] | 5 | !
▲ Back to top
5-10 Year Tests
Notes about this section
The VOC (Volatile Organic Compound) panel tests for more than 50 VOCs, and many of them either occur naturally or appear when other VOCs break down. Only the tests with MCLs set by the EPA are listed here; contact your laboratory with any questions.
For more information about VOCs in well water, see the 'Man-made chemicals' Tip Sheet.
► Read Tip Sheet 9: Man-made chemicals
Some VOCs can have potentially serious health effects. If any of your VOC test results are over the MCL (the 'x' symbol and red box), contact the Center for Drinking Water Quality for advice and next steps.
| Benzene |  |  | mg/L |  | 0.005 |  | 0 | ✓
| A gasoline additive also used in manufacturing (eg. paints, dyes, and cosmetics). It may naturally occur in crude oil or from forest fires. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Carbon Tetrachloride |  |  | mg/L |  | 0.005 |  | 0 | ✓
(or tetrachloromethane)
| Used in manufacturing paint and plastics. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Chlorobenzene |  |  | mg/L |  | 0.1 |  | 0 | ✓
(or monochlorobenzene, benzene chloride)
| Used in manufacturing (eg. dyes, pesticides, and other chemicals). | [6 empty] | 0.05 | !
[8 empty] | 0.1 | ⨉
| 1,2-Dichlorobenzene |  |  | mg/L |  | 0.6 |  | 0 | ✓
(or o-dichlorobenzene)
| Primarily used in agricultural chemicals, often herbicides and some pesticides. | [6 empty] | 0.3 | !
[8 empty] | 0.6 | ⨉
| 1,4-Dichlorobenzene |  |  | mg/L |  | 0.075 |  | 0 | ✓
(or p-dichlorobenzene)
| Primarily used in pesticides and some household products like mothballs and urinal deodorants. | [6 empty] | 0.0375 | !
[8 empty] | 0.075 | ⨉
| 1,2-Dichloroethane |  |  | mg/L |  | 0.005 |  | 0 | ✓
(or ethylene dichloride)
| A gasoline additive also used in some manufacturing (such as PVC plastics, other plastics, and upholstery). | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| 1,1-Dichloroethene |  |  | mg/L |  | 0.007 |  | 0 | ✓
(or 1,1-dichloroethylene)
| Used in manufacturing (eg. fireproofing chemicals, refrigerants, and plastics). | [6 empty] | 0.0035 | !
[8 empty] | 0.007 | ⨉
| cis-1,2-Dichloroethene |  |  | mg/L |  | 0.07 |  | 0 | ✓
(or cis-1,2-dichloroethylene)
| Used in manufacturing (eg. solvents, pharmaceuticals, and waxes). | [6 empty] | 0.035 | !
[8 empty] | 0.07 | ⨉
| trans-1,2-Dichloroethene |  |  | mg/L |  | 0.1 |  | 0 | ✓
(or trans-1,2-dichloroethylene)
| Used in manufacturing (eg. solvents and other chemicals). | [6 empty] | 0.05 | !
[8 empty] | 0.1 | ⨉
| 1,2-Dichloropropane |  |  | mg/L |  | 0.005 |  | 0 | ✓
| A solvent used in paint strippers and varnishes as well as chemical manufacturing. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Dichloromethane |  |  | mg/L |  | 0.005 |  | 0 | ✓
(or methylene chloride)
| A solvent primarily used in paint strippers but also in some aerosols and pesticides. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Ethylbenzene |  |  | mg/L |  | 0.7 |  | 0 | ✓
| A fuel additive used in manufacturing (eg. rubber, plastics, and styrene). It may naturally occur in crude oil, coal tar, or natural gas. | [6 empty] | 0.35 | !
[8 empty] | 0.7 | ⨉
| Methyl tert-Butyl Ether (MtBE) |  |  | mg/L |  | 0.04 |  | 0 | ✓
(or methyl tertiary butyl ether)
| A gasoline additive that typically enters well water through spills or leaking storage such as fuel tanks. | [6 empty] | 0.2 | !
| ► Read Tip Sheet 10: MtBE | [6 empty] | 0.4 | ⨉
| Tetrachloroethene |  |  | mg/L |  | 0.005 |  | 0 | ✓
(or PCE, perchloroethene, or tetrachloroethylene)
| Used in industries such as metal processing, dry cleaning, and textiles. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Toluene |  |  | mg/L |  | 1 |  | 0 | ✓
(or methylbenzene)
| A solvent used in petroleum products and some manufacturing (eg. paints, polishes, and plastics). | [6 empty] | 0.5 | !
[8 empty] | 1 | ⨉
| 1,2,4-Trichlorobenzene |  |  | mg/L |  | 0.07 |  | 0 | ✓
| Used in manufacturing (eg. dyes, herbicides, and other chemicals). | [6 empty] | 0.035 | !
[8 empty] | 0.07 | ⨉
| 1,1,1-Trichloroethane |  |  | mg/L |  | 0.2 |  | 0 | ✓
| A solvent primarily used to clean metals. It is also used in the dye and textile industry and for manufacturing aerosols. | [6 empty] | 0.1 | !
[8 empty] | 0.2 | ⨉
| 1,1,2-Trichloroethane |  |  | mg/L |  | 0.005 |  | 0 | ✓
| A solvent primarily used in plastic and rubber manufacturing. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Trichloroethene |  |  | mg/L |  | 0.005 |  | 0 | ✓
(or TCE, trichloroethylene)
| Used in textile manufacturing and can also be found in products like varnishes and paint strippers. | [6 empty] | 0.0025 | !
[8 empty] | 0.005 | ⨉
| Vinyl Chloride |  |  | mg/L |  | 0.002 |  | 0 | ✓
| Primarily used in PVC plastics and other plastics manufacturing. It also forms when certain chemicals (such as tetrachloroethene) break down. | [6 empty] | 0.001 | !
[8 empty] | 0.002 | ⨉
| Xylenes (Total) |  |  | mg/L |  | 10 |  | 0 | ✓
| A solvent used in printing and some manufacturing (e.g. rubber, leather, and fibers), and may naturally occur in coal tar, wood, or certain plants. | [6 empty] | 5 | !
[8 empty] | 10 | ⨉
▲ Back to top
Other/Non-Routine Tests
| Arsenic |  |  | mg/L |  | 0.01 |  | 0 | ✓
| A toxic metal not common in Rhode Island well water. It is sometimes found near land that was once used as an orchard or had certain types of factories. | [6 empty] | 0.005 | !
| ► Read Tip Sheet 2: Arsenic | [6 empty] | 0.01 | ⨉
| Beryllium |  |  | mg/L |  | 0.004 |  | 0 | ✓
| A rare metal found in certain areas of Rhode Island that can cause health problems. | [6 empty] | 0.002 | !
| ► Read Tip Sheet 4: Beryllium | [6 empty] | 0.004 | ⨉
PFAS (Per- and polyfluoroalkyl substances)
A large family of man-made chemicals commonly added to nonstick, stain-resistant, and waterproof products (e.g. clothing, cookware, and upholstery) as well as some firefighting foams. Exposure to certain PFAS can cause negative health effects.
► Read Tip Sheet 29: PFAS
NOTE: The State of Rhode Island has set an interim standard of 20ppt (parts per trillion, or ng/L) for the combined total of six specific PFAS compounds. You only need to enter your results for the PFAS listed below, and this sheet will total them for you.
| Perfluorooctanoic acid |  |  | ng/L
(or PFOA)
| Perfluorooctane sulfonic acid |  |  | ng/L
(or PFOS)
| Perfluorohexane sulfonic acid |  |  | ng/L
(or PFHxS)
| Perfluorononanoic acid |  |  | ng/L
(or PFNA)
| Perfluoroheptanoic acid |  |  | ng/L
(or PFHpA)
| Perfluorodecanoic acid |  |  | ng/L |  |  |  | 0 | ✓
| (or PFDA) | [6 empty] | 10 | !
[8 empty] | 20 | ⨉
| TOTAL: |  |  | ng/L |  | 20
Radon
The EPA does not have a health limit for radon in water, and Rhode Island doesn't require testing private wells for it. See our Radon Tip Sheet below.
► Read Tip Sheet 13: Radon
There is, however, a health limit for radon in air. Contact the RIDOH Radon Control Program for more information.
► Radon Control Program Website
▲ Back to top
Questions?
Contact the Private Wells program at 401-222-6867 or DWQ.RIDOH@health.ri.gov
https://health.ri.gov/water/for/privatewellowners/
✓
!
⨉